## Sheet1
CO2 (ppm)
Difference Set Temp-Inlet Temp (*C) |  | 400 | 500 | 600 | 700 | 800 | 900 | 1000 | 1100 | 1200 | 1300 | 1400 | 1500 | 1600 | 1700 | 1800 | 1900 | 2000 | 2100
-10 |  | L | L | L | L | L | L | L | L | L | L | L | L | L | L | L | L | M | M
-7.5 |  | L | L | L | L | L | L | L | L | L | L | L | L | L | L | L | L | M | M
-5 |  | L | L | L | L | L | L | L | L | L | L | L | L | M | M | M | M | M | M
-2.5 |  | L | L | L | L | L | L | M | M | M | H | H | H | H | H | H | H | H | H
0 | draws in same temp air into house | L | L | L | L | M | H | H | H | H | H | H | H | H | H | H | H | H | H
2.5 |  | L | L | L | L | L | L | M | M | M | M | M | H | H | H | H | H | H | H
5 |  | L | L | L | L | L | L | L | M | M | M | M | M | M | M | M | M | H | H
7.5 |  | L | L | L | L | L | L | L | L | L | M | M | M | M | M | M | M | M | M
10 |  | L | L | L | L | L | L | L | L | L | L | L | L | L | L | M | M | M | M
12.5
15

## Sheet2
winter -2*C, setpoint 20*C, in-door 18*C, inlet 14*C
Measured temp | Set Temp | Warmup(+)/Cooldown(-) required | Inlet temp | Set Temp - Inlet Temp
18 | 20 | 2 | 14 | 6
winter 7*C, setpoint 20*C, in-door 18*C, inlet 16*C
Measured temp | Set Temp | Warmup(+)/Cooldown(-) required | Inlet temp | Set Temp - Inlet Temp
18 | 20 | 2 | 16 | 4
summer night 18*C, setpoint 20*C, in-door 23*C, bypass
Measured temp | Set Temp | Warmup(+)/Cooldown(-) required | Inlet temp | Set Temp - Inlet Temp
23 | 20 | -3 | 18 | 2
summer day 30*C, setpoint 20*C, in-door 23*C, bypass
Measured temp | Set Temp | Warmup(+)/Cooldown(-) required | Inlet temp | Set Temp - Inlet Temp
23 | 20 | -3 | 30 | -10
summer day 23*C, setpoint 20*C, in-door 18*C, bypass
Measured temp | Set Temp | Warmup(+)/Cooldown(-) required | Inlet temp | Set Temp - Inlet Temp
18 | 20 | 2 | 23 | -3

## Sheet3
L - encourage less ventilation from energy/comfort standpoint
D - don't care, no energy impact | [51 empty] | more inlet will cool down house | [15 empty] | less inlet will keep more warmth in house
H - encourage more ventilation from energy/comfort standpoint
inlet temp - measured temp
|  |  | Meas | [22 empty] | Meas
|  | Inlet |  | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | Inlet |  | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 |  |  |  |  | -15 | -14 | -13 | -12 | -11 | -10 | -9 | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
|  |  | 15 | L | L | L | L | L | D | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H |  | 15 | L | L | L | L | L | D | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H |  |  | measured temp - setpoint temp | -10 | 150 | 140 | 130 | 120 | 110 | 100 | 90 | 80 | 70 | 60 | 50 | 40 | 30 | 20 | 10 | 0 | -10 | -20 | -30 | -40 | -50 | -60 | -70 | -80 | -90 | -100 | -110 | -120 | -130 | -140 | -150
|  |  | 16 | L | L | L | L | L | L | D | H | H | H | H | H | H | H | H | H | H | H | H | H | H |  | 16 | L | L | L | L | L | L | D | H | H | H | H | H | H | H | H | H | H | H | H | H | H |  |  |  | -9 | 135 | 126 | 117 | 108 | 99 | 90 | 81 | 72 | 63 | 54 | 45 | 36 | 27 | 18 | 9 | 0 | -9 | -18 | -27 | -36 | -45 | -54 | -63 | -72 | -81 | -90 | -99 | -108 | -117 | -126 | -135
|  |  | 17 | L | L | L | L | L | L | L | D | H | H | H | H | H | H | H | H | H | H | H | H | H |  | 17 | L | L | L | L | L | L | L | D | H | H | H | H | H | H | H | H | H | H | H | H | H |  |  |  | -8 | 120 | 112 | 104 | 96 | 88 | 80 | 72 | 64 | 56 | 48 | 40 | 32 | 24 | 16 | 8 | 0 | -8 | -16 | -24 | -32 | -40 | -48 | -56 | -64 | -72 | -80 | -88 | -96 | -104 | -112 | -120
| 20 |  | 18 | L | L | L | L | L | L | L | L | D | H | H | H | H | H | H | H | H | H | H | H | H |  | 18 | L | L | L | L | L | L | L | L | D | H | H | H | H | H | H | H | H | H | H | H | H |  |  |  | -7 | 105 | 98 | 91 | 84 | 77 | 70 | 63 | 56 | 49 | 42 | 35 | 28 | 21 | 14 | 7 | 0 | -7 | -14 | -21 | -28 | -35 | -42 | -49 | -56 | -63 | -70 | -77 | -84 | -91 | -98 | -105
|  |  | 19 | L | L | L | L | L | L | L | L | L | D | H | H | H | H | H | H | H | H | H | H | H |  | 19 | L | L | L | L | L | L | L | L | L | D | H | H | H | H | H | H | H | H | H | H | H |  |  |  | -6 | 90 | 84 | 78 | 72 | 66 | 60 | 54 | 48 | 42 | 36 | 30 | 24 | 18 | 12 | 6 | 0 | -6 | -12 | -18 | -24 | -30 | -36 | -42 | -48 | -54 | -60 | -66 | -72 | -78 | -84 | -90
| S=20 |  | 20 | L | L | L | L | L | L | L | L | L | L | D | L | L | L | L | L | L | L | L | L | L |  | 20 | L | L | L | L | L | L | L | L | L | L | D | L | L | L | L | L | L | L | L | L | L |  |  | wants to warm up | -5 | 75 | 70 | 65 | 60 | 55 | 50 | 45 | 40 | 35 | 30 | 25 | 20 | 15 | 10 | 5 | 0 | -5 | -10 | -15 | -20 | -25 | -30 | -35 | -40 | -45 | -50 | -55 | -60 | -65 | -70 | -75
|  |  | 21 | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L | L | L | L | L | L | L |  | 21 | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L | L | L | L | L | L | L |  |  |  | -4 | 60 | 56 | 52 | 48 | 44 | 40 | 36 | 32 | 28 | 24 | 20 | 16 | 12 | 8 | 4 | 0 | -4 | -8 | -12 | -16 | -20 | -24 | -28 | -32 | -36 | -40 | -44 | -48 | -52 | -56 | -60
|  |  | 22 | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L | L | L | L | L | L |  | 22 | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L | L | L | L | L | L |  |  |  | -3 | 45 | 42 | 39 | 36 | 33 | 30 | 27 | 24 | 21 | 18 | 15 | 12 | 9 | 6 | 3 | 0 | -3 | -6 | -9 | -12 | -15 | -18 | -21 | -24 | -27 | -30 | -33 | -36 | -39 | -42 | -45
|  |  | 23 | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L | L | L | L | L |  | 23 | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L | L | L | L | L |  |  |  | -2 | 30 | 28 | 26 | 24 | 22 | 20 | 18 | 16 | 14 | 12 | 10 | 8 | 6 | 4 | 2 | 0 | -2 | -4 | -6 | -8 | -10 | -12 | -14 | -16 | -18 | -20 | -22 | -24 | -26 | -28 | -30
|  |  | 24 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L | L | L | L |  | 24 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L | L | L | L |  |  |  | -1 | 15 | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | -1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11 | -12 | -13 | -14 | -15
|  |  | 25 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L | L | L |  | 25 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L | L | L |  |  | wants to stay the same | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 26 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L | L |  | 26 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L | L |  |  |  | 1 | -15 | -14 | -13 | -12 | -11 | -10 | -9 | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
|  |  | 27 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L |  | 27 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L |  |  |  | 2 | -30 | -28 | -26 | -24 | -22 | -20 | -18 | -16 | -14 | -12 | -10 | -8 | -6 | -4 | -2 | 0 | 2 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20 | 22 | 24 | 26 | 28 | 30
|  |  | 28 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L |  | 28 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L |  |  |  | 3 | -45 | -42 | -39 | -36 | -33 | -30 | -27 | -24 | -21 | -18 | -15 | -12 | -9 | -6 | -3 | 0 | 3 | 6 | 9 | 12 | 15 | 18 | 21 | 24 | 27 | 30 | 33 | 36 | 39 | 42 | 45
|  |  | 29 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L |  | 29 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L |  |  | wants to cool | 4 | -60 | -56 | -52 | -48 | -44 | -40 | -36 | -32 | -28 | -24 | -20 | -16 | -12 | -8 | -4 | 0 | 4 | 8 | 12 | 16 | 20 | 24 | 28 | 32 | 36 | 40 | 44 | 48 | 52 | 56 | 60
|  |  | 30 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D |  | 30 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D |  |  |  | 5 | -75 | -70 | -65 | -60 | -55 | -50 | -45 | -40 | -35 | -30 | -25 | -20 | -15 | -10 | -5 | 0 | 5 | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 45 | 50 | 55 | 60 | 65 | 70 | 75
[51 empty] | 6 | -90 | -84 | -78 | -72 | -66 | -60 | -54 | -48 | -42 | -36 | -30 | -24 | -18 | -12 | -6 | 0 | 6 | 12 | 18 | 24 | 30 | 36 | 42 | 48 | 54 | 60 | 66 | 72 | 78 | 84 | 90
[51 empty] | 7 | -105 | -98 | -91 | -84 | -77 | -70 | -63 | -56 | -49 | -42 | -35 | -28 | -21 | -14 | -7 | 0 | 7 | 14 | 21 | 28 | 35 | 42 | 49 | 56 | 63 | 70 | 77 | 84 | 91 | 98 | 105
|  |  | Meas | [22 empty] | Meas | [24 empty] | 8 | -120 | -112 | -104 | -96 | -88 | -80 | -72 | -64 | -56 | -48 | -40 | -32 | -24 | -16 | -8 | 0 | 8 | 16 | 24 | 32 | 40 | 48 | 56 | 64 | 72 | 80 | 88 | 96 | 104 | 112 | 120
| S=21 | Inlet |  | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | Inlet |  | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 |  | D = inlet - meas == 0 |  | 9 | -135 | -126 | -117 | -108 | -99 | -90 | -81 | -72 | -63 | -54 | -45 | -36 | -27 | -18 | -9 | 0 | 9 | 18 | 27 | 36 | 45 | 54 | 63 | 72 | 81 | 90 | 99 | 108 | 117 | 126 | 135
|  |  | 15 | L | L | L | L | L | D | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | 5 | 15 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 |  | also will need sign of this |  | 10 | -150 | -140 | -130 | -120 | -110 | -100 | -90 | -80 | -70 | -60 | -50 | -40 | -30 | -20 | -10 | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150
|  |  | 16 | L | L | L | L | L | L | D | H | H | H | H | H | H | H | H | H | H | H | H | H | H | 4 | 16 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
|  |  | 17 | L | L | L | L | L | L | L | D | H | H | H | H | H | H | H | H | H | H | H | H | H | 3 | 17 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
|  |  | 18 | L | L | L | L | L | L | L | L | D | H | H | H | H | H | H | H | H | H | H | H | H | 2 | 18 | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | 19 | L | L | L | L | L | L | L | L | L | D | H | H | H | H | H | H | H | H | H | H | H | 1 | 19 | -9 | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
|  |  | 20 | L | L | L | L | L | L | L | L | L | L | D | H | H | H | H | H | H | H | H | H | H | 0 | 20 | -10 | -9 | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
|  |  | 21 | L | L | L | L | L | L | L | L | L | L | L | D | L | L | L | L | L | L | L | L | L | -1 | 21 | -11 | -10 | -9 | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | Heat up
|  |  | 22 | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L | L | L | L | L | L | -2 | 22 | -12 | -11 | -10 | -9 | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
|  |  | 23 | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L | L | L | L | L | -3 | 23 | -13 | -12 | -11 | -10 | -9 | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7
|  |  | 24 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L | L | L | L | -4 | 24 | -14 | -13 | -12 | -11 | -10 | -9 | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6
|  |  | 25 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L | L | L | -5 | 25 | -15 | -14 | -13 | -12 | -11 | -10 | -9 | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5
|  |  | 26 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L | L | -6 | 26 | -16 | -15 | -14 | -13 | -12 | -11 | -10 | -9 | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4
|  |  | 27 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L | -7 | 27 | -17 | -16 | -15 | -14 | -13 | -12 | -11 | -10 | -9 | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3
|  |  | 28 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | -8 | 28 | -18 | -17 | -16 | -15 | -14 | -13 | -12 | -11 | -10 | -9 | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2
|  |  | 29 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | -9 | 29 | -19 | -18 | -17 | -16 | -15 | -14 | -13 | -12 | -11 | -10 | -9 | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1
|  |  | 30 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | -10 | 30 | -20 | -19 | -18 | -17 | -16 | -15 | -14 | -13 | -12 | -11 | -10 | -9 | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0
Cool down
|  |  | Meas | [22 empty] | Meas
| S=22 | Inlet |  | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | Inlet |  | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
|  |  | 15 | L | L | L | L | L | D | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | 5 | 15 | -5 | -4.4721 | -3.873 | -3.1623 | -2.2361 | 0 | 2.2361 | 3.1623 | 3.873 | 4.4721 | 5 | 5.4772 | 5.9161 | 6.3246 | 6.7082 | 7.0711 | 7.4162 | 7.746 | 8.0623 | 8.3666 | 8.6603 |  | SIGN(inlet - meas) * SIGN(setpoint - meas) * (ABS(setpoint - meas) + ABS(inlet - meas))
|  |  | 16 | L | L | L | L | L | L | D | H | H | H | H | H | H | H | H | H | H | H | H | H | H | 4 | 16 | -4.899 | -4.4721 | -4 | -3.4641 | -2.8284 | -2 | 0 | 2 | 2.8284 | 3.4641 | 4 | 4.4721 | 4.899 | 5.2915 | 5.6569 | 6 | 6.3246 | 6.6332 | 6.9282 | 7.2111 | 7.4833
|  |  | 17 | L | L | L | L | L | L | L | D | H | H | H | H | H | H | H | H | H | H | H | H | H | 3 | 17 | -4.5826 | -4.2426 | -3.873 | -3.4641 | -3 | -2.4495 | -1.7321 | 0 | 1.7321 | 2.4495 | 3 | 3.4641 | 3.873 | 4.2426 | 4.5826 | 4.899 | 5.1962 | 5.4772 | 5.7446 | 6 | 6.245
|  |  | 18 | L | L | L | L | L | L | L | L | D | H | H | H | H | H | H | H | H | H | H | H | H | 2 | 18 | -4 | -3.7417 | -3.4641 | -3.1623 | -2.8284 | -2.4495 | -2 | -1.4142 | 0 | 1.4142 | 2 | 2.4495 | 2.8284 | 3.1623 | 3.4641 | 3.7417 | 4 | 4.2426 | 4.4721 | 4.6904 | 4.899 |  | now need to determine some 'correct' lenght
|  |  | 19 | L | L | L | L | L | L | L | L | L | D | H | H | H | H | H | H | H | H | H | H | H | 1 | 19 | -3 | -2.8284 | -2.6458 | -2.4495 | -2.2361 | -2 | -1.7321 | -1.4142 | -1 | 0 | 1 | 1.4142 | 1.7321 | 2 | 2.2361 | 2.4495 | 2.6458 | 2.8284 | 3 | 3.1623 | 3.3166
|  |  | 20 | L | L | L | L | L | L | L | L | L | L | D | H | H | H | H | H | H | H | H | H | H | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 21 | L | L | L | L | L | L | L | L | L | L | L | D | H | H | H | H | H | H | H | H | H | -1 | 21 | 3.3166 | 3.1623 | 3 | 2.8284 | 2.6458 | 2.4495 | 2.2361 | 2 | 1.7321 | 1.4142 | 1 | 0 | -1 | -1.4142 | -1.7321 | -2 | -2.2361 | -2.4495 | -2.6458 | -2.8284 | -3
|  |  | 22 | [21 empty] | -2 | 22 | 4.899 | 4.6904 | 4.4721 | 4.2426 | 4 | 3.7417 | 3.4641 | 3.1623 | 2.8284 | 2.4495 | 2 | 1.4142 | 0 | -1.4142 | -2 | -2.4495 | -2.8284 | -3.1623 | -3.4641 | -3.7417 | -4 | bar: 10 to 30
|  |  | 23 | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L | L | L | L | L | -3 | 23 | 6.245 | 6 | 5.7446 | 5.4772 | 5.1962 | 4.899 | 4.5826 | 4.2426 | 3.873 | 3.4641 | 3 | 2.4495 | 1.7321 | 0 | -1.7321 | -2.4495 | -3 | -3.4641 | -3.873 | -4.2426 | -4.5826
|  |  | 24 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L | L | L | L | -4 | 24 | 7.4833 | 7.2111 | 6.9282 | 6.6332 | 6.3246 | 6 | 5.6569 | 5.2915 | 4.899 | 4.4721 | 4 | 3.4641 | 2.8284 | 2 | 0 | -2 | -2.8284 | -3.4641 | -4 | -4.4721 | -4.899
|  |  | 25 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L | L | L | -5 | 25 | 8.6603 | 8.3666 | 8.0623 | 7.746 | 7.4162 | 7.0711 | 6.7082 | 6.3246 | 5.9161 | 5.4772 | 5 | 4.4721 | 3.873 | 3.1623 | 2.2361 | 0 | -2.2361 | -3.1623 | -3.873 | -4.4721 | -5
|  |  | 26 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L | L | -6 | 26 | 9.798 | 9.4868 | 9.1652 | 8.8318 | 8.4853 | 8.124 | 7.746 | 7.3485 | 6.9282 | 6.4807 | 6 | 5.4772 | 4.899 | 4.2426 | 3.4641 | 2.4495 | 0 | -2.4495 | -3.4641 | -4.2426 | -4.899
|  |  | 27 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | L | -7 | 27 | 10.9087 | 10.583 | 10.247 | 9.8995 | 9.5394 | 9.1652 | 8.775 | 8.3666 | 7.9373 | 7.4833 | 7 | 6.4807 | 5.9161 | 5.2915 | 4.5826 | 3.7417 | 2.6458 | 0 | -2.6458 | -3.7417 | -4.5826
|  |  | 28 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | L | -8 | 28 | 12 | 11.6619 | 11.3137 | 10.9545 | 10.583 | 10.198 | 9.798 | 9.3808 | 8.9443 | 8.4853 | 8 | 7.4833 | 6.9282 | 6.3246 | 5.6569 | 4.899 | 4 | 2.8284 | 0 | -2.8284 | -4
|  |  | 29 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | D | L | -9 | 29 | 13.0767 | 12.7279 | 12.3693 | 12 | 11.619 | 11.225 | 10.8167 | 10.3923 | 9.9499 | 9.4868 | 9 | 8.4853 | 7.9373 | 7.3485 | 6.7082 | 6 | 5.1962 | 4.2426 | 3 | 0 | -3
|  |  | 30 | [21 empty] | -10 | 30 | 14.1421 | 13.784 | 13.4164 | 13.0384 | 12.6491 | 12.2474 | 11.8322 | 11.4018 | 10.9545 | 10.4881 | 10 | 9.4868 | 8.9443 | 8.3666 | 7.746 | 7.0711 | 6.3246 | 5.4772 | 4.4721 | 3.1623 | 0 | bar: 10 to 30
[26 empty] | Meas | temp
[25 empty] | Inlet |  | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
[25 empty] | temp | 15 | L | L | L | L | L | L | L | M | H | H | H | H | H | H | H | H | H | H | H | H | H
[26 empty] | 16 | L | L | L | L | L | L | L | L | M | H | H | H | H | H | H | H | H | H | H | H | H
[26 empty] | 17 | L | L | L | L | L | L | L | L | L | M | H | H | H | H | H | H | H | H | H | H | H
18 | bar: temp 10 to temp 30
[26 empty] | 19 | L | L | L | L | L | L | L | L | L | M | H | H | H | H | H | M | M | M | M | M | M
[26 empty] | 20 | L | L | L | L | L | L | L | L | M | H | H | H | M | M | M | L | L | L | L | L | L
[26 empty] | 21 | L | L | L | L | L | L | L | M | M | H | H | H | M | M | L | L | L | L | L | L | L
[26 empty] | 22 | L | L | L | L | L | M | M | M | H | H | H | M | M | M | L | L | L | L | L | L | L
[26 empty] | 23 | L | L | L | M | M | M | M | H | H | H | H | M | M | M | L | L | L | L | L | L | L
[26 empty] | 24 | M | M | M | M | M | M | H | H | H | H | H | M | M | M | L | L | L | L | L | L | L
[26 empty] | 25 | M | M | M | M | M | H | H | H | H | H | H | H | M | M | M | L | L | L | L | L | L
[26 empty] | 26 | M | M | M | M | H | H | H | H | H | H | H | H | H | M | M | M | L | L | L | L | L
[26 empty] | 27 | M | M | M | H | H | H | H | H | H | H | H | H | H | H | M | M | M | L | L | L | L
[26 empty] | 28 | M | M | H | H | H | H | H | H | H | H | H | H | H | H | H | M | M | M | L | L | L
[26 empty] | 29 | M | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | M | M | M | L | L
[26 empty] | 30 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | M | M | M | L
[26 empty] | Meas | temp 10: temp
[25 empty] | Inlet |  | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
[25 empty] | temp | 10 | L | L | L | L | L | L | M | H | H | H | H | H | H | H | H | H | H | H | H | H | H
[26 empty] | 11 | L | L | L | L | L | L | M | M | H | H | H | H | H | H | H | H | H | H | H | H | H
[26 empty] | 12 | L | L | L | L | L | L | L | M | H | H | H | H | H | H | H | H | H | H | H | H | H
[26 empty] | 13 | L | L | L | L | L | L | L | M | M | H | H | H | H | H | H | H | H | H | H | M | M
[26 empty] | 14 | L | L | L | L | L | L | L | L | M | H | H | H | H | H | H | H | H | M | M | M | M
[26 empty] | 15 | L | L | L | L | L | L | L | L | M | H | H | H | H | H | H | M | M | H | M | M | M
[26 empty] | 16 | L | L | L | L | L | L | L | L | M | H | H | H | H | H | M | M | M | M | M | M | M
[26 empty] | 17 | L | L | L | L | L | L | L | L | M | H | H | H | H | M | M | M | M | M | M | M | M
[26 empty] | 18 | L | L | L | L | L | L | L | L | M | H | H | H | H | M | L | L | L | L | L | L | L
[26 empty] | 19 | L | L | L | L | L | L | L | L | M | H | H | H | H | M | L | L | L | L | L | L | L
[26 empty] | 20 | L | L | L | L | L | L | L | L | M | H | H | H | M | L | L | L | L | L | L | L | L
[26 empty] | 21 | L | L | L | L | L | L | L | M | M | H | H | H | M | L | L | L | L | L | L | L | L
[26 empty] | 22 | L | L | L | L | L | L | L | M | H | H | H | H | M | L | L | L | L | L | L | L | L
[26 empty] | 23 | M | M | M | M | M | M | M | M | H | H | H | H | M | L | L | L | L | L | L | L | L
[26 empty] | 24 | M | M | M | M | M | M | M | H | H | H | H | H | M | L | L | L | L | L | L | L | L
[26 empty] | 25 | M | M | M | M | M | M | H | H | H | H | H | H | M | L | L | L | L | L | L | L | L
[26 empty] | 26 | M | M | M | M | H | H | H | H | H | H | H | H | M | L | L | L | L | L | L | L | L
[26 empty] | 27 | M | M | H | H | H | H | H | H | H | H | H | H | M | M | L | L | L | L | L | L | L
[26 empty] | 28 | H | H | H | H | H | H | H | H | H | H | H | H | H | M | L | L | L | L | L | L | L
[26 empty] | 29 | H | H | H | H | H | H | H | H | H | H | H | H | H | M | M | L | L | L | L | L | L
[26 empty] | 30 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | M | L | L | L | L | L | L
[26 empty] | Meas | temp 10: temp
[25 empty] | Inlet |  | -10 | -9 | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
[25 empty] | temp | -10 | L | L | L | L | L | L | M | H | H | H | H | H | H | H | H | H | H | H | H | H | H
[26 empty] | -9 | L | L | L | L | L | L | M | M | H | H | H | H | H | H | H | H | H | H | H | H | H
[26 empty] | -8 | L | L | L | L | L | L | L | M | H | H | H | H | H | H | H | H | H | H | H | H | H
[26 empty] | -7 | L | L | L | L | L | L | L | M | M | H | H | H | H | H | H | H | H | H | H | M | M
[26 empty] | -6 | L | L | L | L | L | L | L | L | M | H | H | H | H | H | H | H | H | M | M | M | M
[26 empty] | -5 | L | L | L | L | L | L | L | L | M | H | H | H | H | H | H | M | M | H | M | M | M
[26 empty] | -4 | L | L | L | L | L | L | L | L | M | H | H | H | H | H | M | M | M | M | M | M | M
[26 empty] | -3 | L | L | L | L | L | L | L | L | M | H | H | H | H | M | M | M | M | M | M | M | M
[26 empty] | -2 | L | L | L | L | L | L | L | L | M | H | H | H | H | M | L | L | L | L | L | L | L
[26 empty] | -1 | L | L | L | L | L | L | L | L | M | H | H | H | M | M | L | L | L | L | L | L | L
[26 empty] | 0 | L | L | L | L | L | L | L | L | M | H | H | H | M | L | L | L | L | L | L | L | L
[26 empty] | 1 | L | L | L | L | L | L | L | M | M | H | H | H | M | L | L | L | L | L | L | L | L
[26 empty] | 2 | L | L | L | L | L | L | L | M | H | H | H | H | M | L | L | L | L | L | L | L | L
[26 empty] | 3 | M | M | M | M | M | M | M | M | H | H | H | H | M | L | L | L | L | L | L | L | L
[26 empty] | 4 | M | M | M | M | M | M | M | H | H | H | H | H | M | L | L | L | L | L | L | L | L
[26 empty] | 5 | M | M | M | M | M | M | H | H | H | H | H | H | M | L | L | L | L | L | L | L | L
[26 empty] | 6 | M | M | M | M | H | H | H | H | H | H | H | H | M | L | L | L | L | L | L | L | L
[26 empty] | 7 | M | M | H | H | H | H | H | H | H | H | H | H | M | M | L | L | L | L | L | L | L
[26 empty] | 8 | H | H | H | H | H | H | H | H | H | H | H | H | H | M | L | L | L | L | L | L | L
[26 empty] | 9 | H | H | H | H | H | H | H | H | H | H | H | H | H | M | M | L | L | L | L | L | L
[26 empty] | 10 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | M | L | L | L | L | L | L
[26 empty] | Meas | temp 10: temp
[25 empty] | Inlet |  | -10 | -9 | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
[25 empty] | temp | -10 | -4 | -4 | -4 | -3 | -2 | -1 | 0 | H | 1 | 2 | 3 | 3 | 4 | 4 | 4 | 4 | 3 | 3 | 3 | 3 | 3
[26 empty] | -9 | -4 | -4 | -4 | -3 | -2 | -1 | 0 | 0 | 1 | 2 | 2 | 3 | 4 | 4 | 3 | 3 | 3 | 2 | 2 | 2 | 2
[26 empty] | -8 | -4 | -4 | -4 | -3 | -2 | -1 | -1 | 0 | 1 | 1 | 2 | 3 | 3 | 3 | 3 | 2 | 2 | 2 | 1 | 1 | 1
[26 empty] | -7 | -4 | -4 | -4 | -3 | -2 | -2 | -1 | 0 | 0 | 1 | 2 | 3 | 3 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1
[26 empty] | -6 | -4 | -4 | -4 | -3 | -3 | -2 | -1 | -1 | 0 | 1 | 2 | 3 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[26 empty] | -5 | -4 | -4 | -4 | -4 | -3 | -2 | -2 | -1 | 0 | 1 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[26 empty] | -4 | -4 | -4 | -4 | -4 | -3 | -3 | -2 | -1 | 0 | 1 | 2 | 2 | 2 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
[26 empty] | -3 | -4 | -4 | -4 | -4 | -3 | -3 | -2 | -1 | 0 | 1 | 2 | 2 | 1 | 0 | 0 | 0 | 0 | -1 | -1 | -1 | -1
[26 empty] | -2 | -4 | -4 | -4 | -4 | -3 | -3 | -2 | -1 | 0 | 1 | 2 | 1 | 1 | 0 | -1 | -1 | -1 | -1 | -2 | -2 | -2
[26 empty] | -1 | -4 | -4 | -4 | -4 | -3 | -2 | -2 | -1 | 0 | 1 | 2 | 1 | 0 | 0 | -1 | L | -2 | -2 | -2 | -3 | -3
[26 empty] | 0 | -3 | -3 | -3 | -3 | -3 | -2 | -1 | -1 | 0 | 1 | 2 | 1 | 0 | -1 | -1 | -2 | -2 | -3 | -3 | -3 | -3
[26 empty] | 1 | -3 | -3 | -2 | -2 | -2 | -2 | -1 | 0 | 0 | 1 | 2 | 1 | 0 | -1 | -2 | -2 | -3 | -3 | -4 | -4 | -4
[26 empty] | 2 | -2 | -2 | -2 | -1 | -1 | -1 | -1 | 0 | 1 | 1 | 2 | 1 | 0 | -1 | -2 | -3 | -3 | -4 | -4 | -4 | -4
[26 empty] | 3 | -1 | -1 | -1 | -1 | 0 | 0 | 0 | 0 | 1 | 2 | 2 | 1 | 0 | -1 | -2 | -3 | -3 | -4 | -4 | -4 | -4
[26 empty] | 4 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 2 | 2 | 2 | 1 | 0 | -1 | -2 | -3 | -3 | -4 | -4 | -4 | -4
[26 empty] | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 1 | 0 | -1 | -2 | -2 | -3 | -4 | -4 | -4 | -4
[26 empty] | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 3 | 2 | 1 | 0 | -1 | -1 | -2 | -3 | -3 | -4 | -4 | -4
[26 empty] | 7 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 3 | 3 | 2 | 1 | 0 | 0 | -1 | -2 | -2 | -3 | -4 | -4 | -4
[26 empty] | 8 | 1 | 1 | 1 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 2 | 1 | 1 | 0 | 1 | -1 | -2 | -3 | -4 | -4 | -4
[26 empty] | 9 | 2 | 2 | 2 | 2 | 3 | 3 | 3 | 4 | 4 | 3 | 2 | 2 | 1 | 0 | 0 | -1 | -2 | -3 | -4 | -4 | -4
[26 empty] | 10 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 3 | 3 | 2 | 2 | 1 | 0 | -1 | -2 | -3 | -4 | -4 | -4
[26 empty] | Meas | temp 10: temp
[25 empty] | Inlet |  | -10 | -9 | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
[25 empty] | temp | -10 | -4 | -4 | -4 | -3 | -2 | -1 | 0 | H | 1 | 2 | 3 | 3 | 4 | 4 | 4 | 4 | 3 | 3 | 3 | 3 | 3
[26 empty] | -9 | -4 | -4 | -4 | -3 | -2 | -1 | 0 | 0 | 1 | 2 | 2 | 3 | 4 | 4 | 3 | 3 | 3 | 2 | 2 | 2 | 2
[26 empty] | -8 | -4 | -4 | -4 | -3 | -2 | -1 | -1 | 0 | 1 | 1 | 2 | 3 | 3 | 3 | 3 | 2 | 2 | 2 | 1 | 1 | 1
[26 empty] | -7 | -4 | -4 | -4 | -3 | -2 | -2 | -1 | 0 | 0 | 1 | 2 | 3 | 3 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1
[26 empty] | -6 | -4 | -4 | -4 | -3 | -3 | -2 | -1 | -1 | 0 | 1 | 2 | 3 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[26 empty] | -5 | -4 | -4 | -4 | -4 | -3 | -2 | -2 | -1 | 0 | 1 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[26 empty] | -4 | -4 | -4 | -4 | -4 | -3 | -3 | -2 | -1 | 0 | 1 | 2 | 2 | 2 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
[26 empty] | -3 | -4 | -4 | -4 | -4 | -3 | -3 | -2 | -1 | 0 | 1 | 2 | 2 | 1 | 0 | 0 | 0 | 0 | -1 | -1 | -1 | -1
[26 empty] | -2 | -4 | -4 | -4 | -4 | -3 | -3 | -2 | -1 | 0 | 1 | 2 | 1 | 1 | 0 | -1 | -1 | -1 | -1 | -2 | -2 | -2
[26 empty] | -1 | -4 | -4 | -4 | -4 | -3 | -2 | -2 | -1 | 0 | 1 | 2 | 1 | 0 | 0 | -1 | L | -2 | -2 | -2 | -3 | -3
[26 empty] | 0 | -3 | -3 | -3 | -3 | -3 | -2 | -1 | -1 | 0 | 1 | 2 | 1 | 0 | -1 | -1 | -2 | -2 | -3 | -3 | -3 | -3
[26 empty] | 1 | -3 | -3 | -2 | -2 | -2 | -2 | -1 | 0 | 0 | 1 | 2 | 1 | 0 | -1 | -2 | -2 | -3 | -3 | -4 | -4 | -4
[26 empty] | 2 | -2 | -2 | -2 | -1 | -1 | -1 | -1 | 0 | 1 | 1 | 2 | 1 | 0 | -1 | -2 | -3 | -3 | -4 | -4 | -4 | -4
[26 empty] | 3 | -1 | -1 | -1 | -1 | 0 | 0 | 0 | 0 | 1 | 2 | 2 | 1 | 0 | -1 | -2 | -3 | -3 | -4 | -4 | -4 | -4
[26 empty] | 4 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 2 | 2 | 2 | 1 | 0 | -1 | -2 | -3 | -3 | -4 | -4 | -4 | -4
[26 empty] | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 1 | 0 | -1 | -2 | -2 | -3 | -4 | -4 | -4 | -4
[26 empty] | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 3 | 2 | 1 | 0 | -1 | -1 | -2 | -3 | -3 | -4 | -4 | -4
[26 empty] | 7 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 3 | 3 | 2 | 1 | 0 | 0 | -1 | -2 | -2 | -3 | -4 | -4 | -4
[26 empty] | 8 | 1 | 1 | 1 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 2 | 1 | 1 | 0 | 1 | -1 | -2 | -3 | -4 | -4 | -4
[26 empty] | 9 | 2 | 2 | 2 | 2 | 3 | 3 | 3 | 4 | 4 | 3 | 2 | 2 | 1 | 0 | 0 | -1 | -2 | -3 | -4 | -4 | -4
[26 empty] | 10 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 3 | 3 | 2 | 2 | 1 | 0 | -1 | -2 | -3 | -4 | -4 | -4

## Sheet4
Set Temp | Measured Temp | Inlet Temp | Wanted state
20 | 15 | 10 | L
20 | 15 | 14 | L
20 | 15 | 15 | D
20 | 15 | 16 | H
20 | 15 | 20 | H
20 | 15 | 25 | H
20 | 15 | 30 | H
20 | 16 | 10 | L
20 | 16 | 15 | L
20 | 16 | 16 | D
20 | 16 | 17 | H
20 | 16 | 20 | H
20 | 16 | 25 | H
20 | 16 | 30 | H
20 | 17 | 10 | L
20 | 17 | 15 | L
20 | 17 | 16 | L
20 | 17 | 17 | D
20 | 17 | 18 | H
20 | 17 | 20 | H
20 | 17 | 25 | H
20 | 17 | 30 | H
20 | 18 | 10 | L
20 | 18 | 15 | L
20 | 18 | 17 | L
20 | 18 | 18 | D
20 | 18 | 19 | H
20 | 18 | 20 | H
20 | 18 | 25 | H
20 | 18 | 30 | H
20 | 19 | 10 | L
20 | 19 | 15 | L
20 | 19 | 18 | L
20 | 19 | 19 | D
20 | 19 | 20 | H
20 | 19 | 25 | H
20 | 19 | 30 | H
20 | 20 | 10 | L
20 | 20 | 15 | L
20 | 20 | 19 | L
20 | 20 | 20 | D
20 | 20 | 21 | H
20 | 20 | 25 | H
20 | 20 | 30 | H
20 | 21 | 10 | H
20 | 21 | 15 | H
20 | 21 | 20 | H
20 | 21 | 21 | D
20 | 21 | 22 | L
20 | 21 | 25 | L
20 | 21 | 30 | L
20 | 22 | 10 | H
20 | 22 | 15 | H
20 | 22 | 20 | H
20 | 22 | 21 | H
20 | 22 | 22 | D
20 | 22 | 23 | L
20 | 22 | 25 | L
20 | 22 | 30 | L
20 | 23 | 10 | H
20 | 23 | 15 | H
20 | 23 | 20 | H
20 | 23 | 22 | H
20 | 23 | 23 | D
20 | 23 | 24 | L
20 | 23 | 25 | L
20 | 23 | 30 | L
20 | 24 | 10 | H
20 | 24 | 15 | H
20 | 24 | 20 | H
20 | 24 | 23 | H
20 | 24 | 24 | D
20 | 24 | 25 | L
20 | 24 | 30 | L
20 | 25 | 10 | H
20 | 25 | 15 | H
20 | 25 | 20 | H
20 | 25 | 24 | H
20 | 25 | 25 | D
20 | 25 | 26 | L
20 | 25 | 30 | L
20 | 26 | 10 | H
20 | 26 | 15 | H
20 | 26 | 20 | H
20 | 26 | 25 | H
20 | 26 | 26 | D
20 | 26 | 27 | L
20 | 26 | 30 | L
20 | 27 | 10 | H
20 | 27 | 15 | H
20 | 27 | 20 | H
20 | 27 | 25 | H
20 | 27 | 26 | H
20 | 27 | 27 | D
20 | 27 | 28 | L
20 | 27 | 30 | L
20 | 28 | 10 | H
20 | 28 | 15 | H
20 | 28 | 20 | H
20 | 28 | 25 | H
20 | 28 | 27 | H
20 | 28 | 28 | D
20 | 28 | 29 | L
20 | 28 | 30 | L
20 | 29 | 10 | H
20 | 29 | 15 | H
20 | 29 | 20 | H
20 | 29 | 25 | H
20 | 29 | 29 | D
20 | 29 | 30 | L
20 | 30 | 10 | H
20 | 30 | 15 | H
20 | 30 | 20 | H
20 | 30 | 25 | H
20 | 30 | 29 | H
20 | 30 | 30 | D