## Sheet1
CO2 (ppm)
Difference Set Temp-Inlet Temp (*C) |  | 400 | 500 | 600 | 700 | 800 | 900 | 1000 | 1100 | 1200 | 1300 | 1400 | 1500 | 1600 | 1700 | 1800 | 1900 | 2000 | 2100
-10 |  | L | L | L | L | L | L | L | L | L | L | L | L | L | L | L | L | M | M
-7.5 |  | L | L | L | L | L | L | L | L | L | L | L | L | L | L | L | L | M | M
-5 |  | L | L | L | L | L | L | L | L | L | L | L | L | M | M | M | M | M | M
-2.5 |  | L | L | L | L | L | L | M | M | M | H | H | H | H | H | H | H | H | H
0 | draws in same temp air into house | L | L | L | L | M | H | H | H | H | H | H | H | H | H | H | H | H | H
2.5 |  | L | L | L | L | L | L | M | M | M | M | M | H | H | H | H | H | H | H
5 |  | L | L | L | L | L | L | L | M | M | M | M | M | M | M | M | M | H | H
7.5 |  | L | L | L | L | L | L | L | L | L | M | M | M | M | M | M | M | M | M
10 |  | L | L | L | L | L | L | L | L | L | L | L | L | L | L | M | M | M | M
12.5
15

## Sheet2
winter -2*C, setpoint 20*C, in-door 18*C, inlet 14*C
Measured temp | Set Temp | Warmup(+)/Cooldown(-) required | Inlet temp | Set Temp - Inlet Temp | ((Set Temp - Room Temp) + (Set Temp - Inlet Temp)) / SIGN(Set Temp - Inlet Temp)
18 | 20 | 2 | 14 | 6 | 8
8
winter 7*C, setpoint 20*C, in-door 18*C, inlet 16*C
Measured temp | Set Temp | Warmup(+)/Cooldown(-) required | Inlet temp | Set Temp - Inlet Temp
18 | 20 | 2 | 16 | 4 | 6
6
summer night 18*C, setpoint 20*C, in-door 23*C, bypass
Measured temp | Set Temp | Warmup(+)/Cooldown(-) required | Inlet temp | Set Temp - Inlet Temp
23 | 20 | -3 | 18 | 2 | -1 | We can ventilate more
-1
summer day 30*C, setpoint 20*C, in-door 23*C, bypass
Measured temp | Set Temp | Warmup(+)/Cooldown(-) required | Inlet temp | Set Temp - Inlet Temp
23 | 20 | -3 | 30 | -10 | -13
13
Measured temp | Set Temp | Warmup(+)/Cooldown(-) required | Inlet temp | Set Temp - Inlet Temp
18 | 20 | 2 | 23 | -3 | -1
1